## Repair Estimator
Repair Estimator
Address: | [5 empty] | Vacant: |  |  | Date: |  | About the Repair Estimator
Bed: |  |  | Bath: |  | Sq Ft: |  |  | Inspected By:
* Additional Mediator/Engineer/Pro Quotes Needed:
EXTERIOR
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Roof * |  |  | Roof (rip and replace) - architectural shingle |  |  |  |  | psf |  | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Rollover (add a layer of shingles) - architectural shingle |  |  |  |  | psf |  | 0
|  |  | Roof Sheathing - plywood 1/2" remove & install |  |  |  |  | psf |  | 0
|  |  | Roof repair/patch (hard) |  |  |  |  | ea |  | 0
|  |  | Roof repair/patch (easy) |  |  |  |  | ea |  | 0
|  |  | Premium for 3 layer tear off |  |  |  |  | psf |  | 0
|  |  | Premium for steep pitched roof |  |  |  |  | psf |  | 0
|  |  | Fascia - demo & install new |  |  |  |  | lf |  | 0
|  |  | Soffit - demo & install new |  |  |  |  | lf |  | 0
Gutters |  |  | Gutters & downspouts - demo & install new (Flat Cost) |  |  |  |  | sf |  | 0
|  |  | Gutters & downspouts - demo & install new (linear foot) |  |  |  |  | lf |  | 0
Finish |  |  | Demo existing finishing material |  |  |  |  | psf |  | 0
|  |  | Stucco |  |  |  |  | psf |  | 0
|  |  | Wood siding |  |  |  |  | psf |  | 0
|  |  | Vinyl siding |  |  |  |  | psf |  | 0
|  |  | Fiber cement siding |  |  |  |  | psf |  | 0
|  |  | Plywood panel siding |  |  |  |  | psf |  | 0
|  |  | Patch an exterior section |  |  |  |  | ls |  | 0
|  |  | Power wash exterior finish |  |  |  |  | psf |  | 0
Masonry |  |  | Fireplace/chimney, brick/stone - replace existing |  |  |  |  | ls |  | 0
|  |  | Concrete block |  |  |  |  | sf |  | 0
|  |  | Stone |  |  |  |  | sf |  | 0
|  |  | Brick |  |  |  |  | sf |  | 0
|  |  | Tuckpoint brick |  |  |  |  | sf |  | 0
|  |  | Power wash exterior masonry |  |  |  |  | sf |  | 0
Painting |  |  | Painting both exterior & interior (whole property) |  |  |  |  | psf |  | 0
|  |  | Painting exterior only |  |  |  |  | psf |  | 0
|  |  | Paint trim only |  |  |  |  | lf |  | 0
|  |  | Sand & refinish deck or paint deck |  |  |  |  | sf |  | 0
|  |  | Paint fence |  |  |  |  | sf |  | 0
|  |  | Paint detached garage |  |  |  |  | sf |  | 0
Windows |  |  | Windows, vinyl, average size |  |  |  |  | ea |  | 0
|  |  | Windows, wood, restore existing wood (historical) |  |  |  |  | ea |  | 0
|  |  | Window, large bay window - remove & replace |  |  |  |  | ea |  | 0
EXTERIOR (cont.)
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Garage |  |  | Garage Door Only - 1 Car - 9'x7' door, manual |  |  |  |  | ea |  | 0
|  |  | Garage Door Only - 2 Car - 16' door, manual |  |  |  |  | ea |  | 0
|  |  | Garage Door Opener Installed |  |  |  |  | ea |  | 0
|  |  | Reroof detached garage (rip & replace) |  |  |  |  | sf |  | 0
|  |  | Build new detached garage |  |  |  |  | sf |  | 0
Landscaping |  |  | Full landscaping makeover large lot |  |  |  |  | ls |  | 0
|  |  | Full landscaping makeover medium lot |  |  |  |  | ls |  | 0
|  |  | Full landscaping makeover small lot |  |  |  |  | ls |  | 0
|  |  | Clean up landscaping & yard only |  |  |  |  | ls |  | 0
|  |  | Tree removal (per tree) |  |  |  |  | ea |  | 0
|  |  | Tree Planting (per tree) |  |  |  |  | ea |  | 0
Concrete/Asphalt |  |  | Demo existing concrete or asphalt |  |  |  |  | sf |  | 0
|  |  | Concrete installed for driveway/patio/sidewalk |  |  |  |  | sf |  | 0
|  |  | Asphalt installed in driveway |  |  |  |  | sf |  | 0
|  |  | Gravel installed for driveway/sidewalk |  |  |  |  | sf |  | 0
Decks |  |  | New deck 15'x15' (add permit if 30" off ground) |  |  |  |  | ea |  | 0
|  |  | New deck 10'x10' |  |  |  |  | ea |  | 0
|  |  | New deck - treated lumber |  |  |  |  | sf |  | 0
|  |  | New deck - cedar material |  |  |  |  | sf |  | 0
|  |  | Decking material replacement only |  |  |  |  | sf |  | 0
|  |  | Sand & refinish deck only |  |  |  |  | sf |  | 0
|  |  | New railings - wood |  |  |  |  | lf |  | 0
|  |  | New railings - metal |  |  |  |  | lf |  | 0
Pergola |  |  | New pergola canopy 15'x15' |  |  |  |  | ea |  | 0
|  |  | New pergola canopy 10'x10' |  |  |  |  | ea |  | 0
Fence |  |  | Wood fencing |  |  |  |  | lf |  | 0
|  |  | Wrought iron fencing |  |  |  |  | lf |  | 0
|  |  | Chain-link fence |  |  |  |  | lf |  | 0
Pool * |  |  | Pool Completely Redone ($10k to $15k) |  |  |  |  | ea |  | 0
Possible add'l Inspections needed |  |  | Pool (redo plaster only) |  |  |  |  | ea |  | 0
Septic * |  |  | Septic (all new system) |  |  |  |  | ea |  | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Septic (new tank only) |  |  |  |  | ea |  | 0
|  |  | Septic (replace leach field only) |  |  |  |  | ea |  | 0
Exterior Notes
INTERIOR
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Painting |  |  | Interior painting only |  |  |  |  | sf |  | 0
|  |  | Add extra wall prep (damaged walls) |  |  |  |  | sf |  | 0
Hardwood |  |  | Hardwood flooring - solid wood |  |  |  |  | sf |  | 0
|  |  | Engineered hardwood flooring |  |  |  |  | sf |  | 0
|  |  | Laminate hardwood flooring |  |  |  |  | sf |  | 0
|  |  | Sand & refinish existing hardwood flooring |  |  |  |  | sf |  | 0
Carpet / Vinyl |  |  | Carpet |  |  |  |  | sf |  | 0
|  |  | Vinyl or linoleum flooring |  |  |  |  | sf |  | 0
Tiling |  |  | Ceramic floor tile - in kitchen |  |  |  |  | sf |  | 0
|  |  | Backsplash wall tile - in kitchen |  |  |  |  | sf |  | 0
|  |  | Ceramic floor tile - in bathrooms |  |  |  |  | sf |  | 0
|  |  | Shower wall tile - in bathrooms (70 sf usually) |  |  |  |  | sf |  | 0
|  |  | Shower accent wall tile - in bathrooms |  |  |  |  | sf |  | 0
|  |  | Ceramic floor tile - other areas of house |  |  |  |  | sf |  | 0
Kitchen - (Grouped) |  |  | High end kitchen |  |  |  |  | ea |  | 0
Includes: cabinets, counter-tops, backsplash, plumbing & electrical work & fixtures in kitchen only. Excludes: appliances, flooring, paint. |  |  | Median kitchen |  |  |  |  | ea |  | 0
|  |  | Low end kitchen |  |  |  |  | ea |  | 0
|  |  | Low end kitchen - refinish existing cabinets |  |  |  |  | ea |  | 0
|  |  | Kitchen extra custom items |  |  |  |  | ea |  | 0
Appliances - (Grouped) |  |  | Luxury home appliances |  |  |  |  | ea |  | 0
Includes: Refrigerator, range, range hood, dishwasher, microwave |  |  | High end home appliances |  |  |  |  | ea |  | 0
|  |  | Median price home appliances |  |  |  |  | ea |  | 0
|  |  | Low end home appliances |  |  |  |  | ea |  | 0
Kitchen - (By Item) |  |  | Cabinets |  |  |  |  | lf |  | 0
|  |  | Countertops |  |  |  |  | sf |  | 0
|  |  | Sink |  |  |  |  | ea |  | 0
|  |  | Sink Faucet |  |  |  |  | ea |  | 0
|  |  | Garbage Disposal |  |  |  |  | ea |  | 0
|  |  | Refrigerator |  |  |  |  | ea |  | 0
|  |  | Range |  |  |  |  | ea |  | 0
|  |  | Range Hood |  |  |  |  | ea |  | 0
|  |  | Dishwasher |  |  |  |  | ea |  | 0
|  |  | Microwave |  |  |  |  | ea |  | 0
Bathroom - (Grouped) |  |  | Large master bath - replace everything |  |  |  |  | ea |  | 0
Includes: vanity, counter-top, mirror, sink, faucet, tub, surround, shower-head & faucet kit, towel bar kit fan, lighting kit, basic plumbing & electrical work. Excludes flooring & paint |  |  | Full bath - replace everything |  |  |  |  | ea |  | 0
|  |  | Half bath - replace everything |  |  |  |  | ea |  | 0
Bathroom - (By Item) |  |  | Vanity cabinet |  |  |  |  | ea |  | 0
|  |  | Vanity countertop - granite or other hard surface |  |  |  |  | ea |  | 0
|  |  | Vanity mirror |  |  |  |  | ea |  | 0
|  |  | Sink |  |  |  |  | ea |  | 0
|  |  | Sink Faucet |  |  |  |  | ea |  | 0
|  |  | Toilet |  |  |  |  | ea |  | 0
|  |  | Bathtub - fiberglass |  |  |  |  | ea |  | 0
|  |  | Bathtub & shower surround - fiberglass |  |  |  |  | ea |  | 0
|  |  | Shower stall & surround - fiberglass |  |  |  |  | ea |  | 0
|  |  | Showerhead & faucet kit |  |  |  |  | ea |  | 0
|  |  | Bathroom towel bar kit |  |  |  |  | ea |  | 0
INTERIOR (cont.)
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Framing |  |  | New construction framing- (includes walls, floors & roof) |  |  |  |  | sf |  | 0
|  |  | Interior framing changes (non load barring) |  |  |  |  | sf |  | 0
|  |  | Open load bearing/structural wall (per 8' span) |  |  |  |  | ea |  | 0
|  |  | Subfloor put in (3/4" plywood) |  |  |  |  | sf |  | 0
Insulation |  |  | Wall insulation |  |  |  |  | sf |  | 0
|  |  | Floor insulation |  |  |  |  | sf |  | 0
|  |  | Attic insulation, blown-in |  |  |  |  | sf |  | 0
Walls |  |  | Drywall, tape & skimcoat walls/ceilings in gutted house |  |  |  |  | sf |  | 0
|  |  | Drywall, tape, & skimcoat a wall (1/2" thick) |  |  |  |  | sf |  | 0
|  |  | Drywall, tape, & skimcoat a ceiling (1/2" thick) |  |  |  |  | sf |  | 0
|  |  | Skimcoating/texturing walls and ceilings only |  |  |  |  | sf |  | 0
|  |  | Patchwork section of a wall - (drywall, tape, & finish) |  |  |  |  | ea |  | 0
|  |  | Remove popcorn ceilings |  |  |  |  | sf |  | 0
Doors & Trim |  |  | New interior doors, closet doors, hardware, & trim (3000 sq ft house) |  |  |  |  | ea |  | 0
|  |  | New interior doors, closet doors, hardware, & trim (1500 sq ft house) |  |  |  |  | ea |  | 0
|  |  | Interior door - prehung hollow-core door |  |  |  |  | ea |  | 0
|  |  | Interior sliding closet door |  |  |  |  | ea |  | 0
|  |  | Exterior front door - single door w/ hardware & dead bolt |  |  |  |  | ea |  | 0
|  |  | Exterior french patio door - double door |  |  |  |  | ea |  | 0
|  |  | Exterior sliding glass door - double door |  |  |  |  | ea |  | 0
|  |  | Crown molding |  |  |  |  | lf |  | 0
|  |  | New baseboard trim |  |  |  |  | lf |  | 0
|  |  | Raised panel wood wainscoting |  |  |  |  | lf |  | 0
Basement |  |  | Pour concrete floor in basement |  |  |  |  | sy |  | 0
|  |  | Seal basement |  |  |  |  | ea |  | 0
|  |  | Install sump pump |  |  |  |  | ea |  | 0
|  |  | Install french drains (estimate depending on condition - L x W) |  |  |  |  | lf |  | 0
|  |  | Reframe support beam |  |  |  |  | ea |  | 0
|  |  | Replace stairs |  |  |  |  | ea |  | 0
Foundation * |  |  | Excavation - dig footing trenching |  |  |  |  | lf |  | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Excavation - backfill of trenches |  |  |  |  | lf |  | 0
|  |  | New foundation - pour concrete footing |  |  |  |  | lf |  | 0
|  |  | New foundation - pour concrete slab on grade (4" thick) |  |  |  |  | sf |  | 0
|  |  | New foundation - pour stem wall for single story house |  |  |  |  | lf |  | 0
|  |  | Repair existing foundation - ($10k min - get quote) |  |  |  |  | ea |  | 0
|  |  | Repair existing foundation - stair mud jacking (will vary) |  |  |  |  | ea |  | 0
|  |  | Repair existing foundation - bowing walls support with I beams |  |  |  |  | ea |  | 0
|  |  | Repair existing foundation - settled walls support w/piers |  |  |  |  | ea |  | 0
Interior Notes
MECHANICALS
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
HVAC |  |  | Gas fired forced hot air heating system, ac system, & ductwork |  |  |  |  | ea |  | 0
|  |  | Gas fired forced hot air heating system & ductwork |  |  |  |  | ea |  | 0
|  |  | Gas fired forced hot air unit only |  |  |  |  | ea |  | 0
|  |  | Air conditioning unit only |  |  |  |  | ea |  | 0
|  |  | Replace forced air ductwork only |  |  |  |  | ea |  | 0
|  |  | Replace boiler & hot water baseboard system |  |  |  |  | ea |  | 0
|  |  | Replace boiler unit only |  |  |  |  | ea |  | 0
|  |  | Wall heater (install new or remove & replace) |  |  |  |  | ea |  | 0
|  |  | Service heating & cooling system only |  |  |  |  | ea |  | 0
Plumbing |  |  | New plumbing system in entire house (1,500 sq. ft 3/2 house) |  |  |  |  | ea |  | 0
|  |  | Replace tankless hot water heater |  |  |  |  | ea |  | 0
|  |  | Replace gas hot water heater - 40 gallon |  |  |  |  | ea |  | 0
Electrical |  |  | Rewire entire house, new panel, & lighting fixtures (1,500 sqft) |  |  |  |  | ea |  | 0
|  |  | Basic electrical work for house & lighting fixtures (1500 sq. ft) |  |  |  |  | ea |  | 0
|  |  | Replace electrical panel only |  |  |  |  | ea |  | 0
|  |  | Replace all lighting fixtures only (1500 sq. ft. house) |  |  |  |  | ea |  | 0
OTHER
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Demo & Dumpsters |  |  | Demolition work (cost to fill one 40 yd dumpster) |  |  |  |  | ea |  | 0
|  |  | Dumpster rental (40 yard) |  |  |  |  | ea |  | 0
Termites/Abatement * |  |  | Termite fumigation & treatment |  |  |  |  | ls |  | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Mold removal & abatement - minimum |  |  |  |  | ls |  | 0
|  |  | Asbestos removal & abatement - minimum |  |  |  |  | ls |  | 0
Permits * |  |  | Construction permits for remodel (city) |  |  |  |  | ea |  | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Construction permits for addition (city) |  |  |  |  | ea |  | 0
|  |  | Construction permits for deck (city) |  |  |  |  | ea |  | 0
|  |  | Construction permits over the counter |  |  |  |  | ea |  | 0
|  |  | Construction permits for full submittal (county) |  |  |  |  | ea |  | 0
|  |  | Construction permits for addition (county) |  |  |  |  | ea |  | 0
|  |  | Construction permits for deck (county) |  |  |  |  | ea |  | 0
Extra
Note: Anything that is not on the sheet already
0
[8 empty] | Repairs Subtotal | 0
Contingency |  |  | Misc Contingency Cost (10-20% depending on unknowns) |  |  |  |  | % | 0
[8 empty] | Total Repairs | 0
| SECTION TOTALS |  |  |  |  | Total Repairs
| Exterior Repairs |  |  | 0 |  | 0
| Interior Repairs |  |  | 0
| Mechanical Repairs |  |  | 0 |  | After Repair Value (ARV)
| Other Repairs |  |  | 0
* Pricing will vary based on what type of contractors you get quotes back from. Prices will also vary based on the type materials (low end/high end) you ultimately choose to install. As you start to regularly work with certain contractors you will want to update this repair estimator twice a year based on who you work with and what prices you are able to negotiate. You always want to negotiate quotes you get back and shoot for wholesale pricing.
Note on B2: Enter the property address in the Deal Analyzer
Note on G3: Enter the square footage in the Deal Analyzer
Note on L149: The price per sqft for interior framing will increase as square footage increases. This total amount will automaticaly calculate the price based on the total square footage you enter.
Customizing the Repair Estimator
This worksheet is locked to protect the formulas and printer-friendly formatting. To customize the worksheet you can easily unprotect the document by going to Tools > Protection > Unprotect Sheet.
Unit Abbreviations
ea = each | lf = linear feet | ls = lump sum | sf = square feet | psf = property sq ft | sy = square yards
Mold
Permit Check
Pool
Roof
Septic System
Sewer to Street
Soil
Well
Asbestos
Buried Oil Tank
Fire Damage
Foundation/Structural
Historical Home
Lead Paint

## Formula Data
Data Tables for Repair Estimator Formulas
This sheet contains data used in formulas throughout this document. Editing or Deleting parts of this sheet may change or break formulas on other tabs. Make changes at your own risk.
Interior Framing Changes | Sq Ft | Cost | Note
| 0 | 3 | This table is used to calculate the cost of framing changes based on the sqft entered by the user. The larger the sqft, the less per sqft it costs so this is a vlookup table used for the formula
| 1001 | 5
| 2501 | 7
| 3001 | 9